Kirsch Center

For Environmental Studies

#### Environmental Studies Department

De Anza College

Cupertino, California

Kirsch Center Program Summary

Overview

The Kirsch Center is the lead demonstration building for energy innovation and sustainability of the California Community College System.  The philosophy of this facility is  "a building that teaches about energy, resources and stewardship".  The area of the two-story building is approximately 22,000 gross square feet.  This project exemplifies the next generation of educational innovation. Parts of the building are potentially an around-the-clock, 24-7 facility. In addition to high quality classrooms and labs, students can work in self-paced programs at special open study stations throughout the building.  The Kirsch Center will meet the requirements of a LEED Silver Certified Sustainable Building as established by the U.S. Green Building Council.

### Energy Design Criteria

The primary energy design goals for the Kirsch Center include:

- To maximize the use of on-site environmental energies

- To minimize the use of “purchased” energy originating exterior to the site.

- To assure thermal and visual comfort.

- To support the flexibility of use of classroom, laboratory and conference spaces.

- To minimize the environmental emissions caused by the manufacture of construction materials, actual construction, and lifetime use of the building.

Technical Features Summary

Because the building itself is a teaching tool, the interior structure and utility systems are exposed as much as possible. The interior atmosphere is a clean high tech look similar to that of many of the most innovative Silicon Valley companies.

Since electrical energy efficiency is a high priority, the interiors are typically white walls and ceilings to reflect natural and electrical light as much as possible. The interiors are full of natural light. The atmosphere is bright and comfortable.

Other features of the building include:

- Advanced natural ventilation (West Wing)

- Raised floor for gentle air distribution and flexibility (East Wing)

- Natural Daylighting

- Orientation and layout for energy efficiency and passive solar benefits

- Water conservation / water runoff control

- Radiant heating and cooling (West Wing)

Room Summary

- Energy Exhibit Hall

- Large Lecture Classroom (100 students) and Small Lecture Classroom (48 students)

- Mediated Learning Classroom (48 students)

- Statewide Energy Management Program (SEMP) Lab (32 students)

- Biodiversity Program Lab – John Muir Institute of Natural Sciences (32 students)

- The Max (open learning spaces) for mediated learning

- Study Tutorial Areas and Student Learning Resource Center

- Division and Faculty Offices

- Astronomy Observation Deck, Solar Plaza and Outdoor Study Areas

Energy Training

This building is a major statewide training center for energy professionals and building facilities staff and contains the first Statewide Energy Management Program (SEMP) lab and classroom.  Conferences on energy and environmental issues at the Kirsch Center will include policy makers, school officials, student groups, Silicon Valley entrepreneurs and foreign visitors.

Energy Management (SEMP) Lab & Distance Education SEMP Classroom

The Statewide Energy Management Program is housed in two classrooms – the SEMP lab and Mediated Learning classroom.  The SEMP lab functions both as a high tech demonstration area for energy equipment and systems and as a computer lab.  The Mediated Learning Classroom has broadcast capability for the Statewide Energy Management courses and environmental studies programs.

Environmental Studies & Environmental Sciences Degrees & Certificates:

Programs in:  Environmental Stewardship, Biodiversity, Environmental Law & Pollution Prevention and Energy Management and Climate Policy

Contact:  Julie Phillips, Morgan Family Chair in Environmental Studies, Room KC 219, (408)864-8655

Kirsch Center Tour Information

Students and the general public are always welcome at the Kirsch during normal working hours!

To schedule a tour or to learn more about our programs, please contact:

Pat Cornely

Executive Director

Kirsch Center for Environmental Studies

Room KC 218

(408)864-8628